## sheet1
Version 11
Publisher
temperature | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 1 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 2 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 3 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 4 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[4] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
humidity | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 6 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[6] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 7 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[7] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 8 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[8] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 9 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[9] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
cmd | fcp/1/DOR/%1/CP1/ww/cmd | Address (Bit trigger) | CompressionType 2 | Retain On | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| OFF->ON | Follow On | Local HMI | MQTT_CmdRespReq | System Tag Off | User-defined Tag On | 1002990 | IDX null
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | value | Value | String | Address | Local HMI | MQTT_CmdRespData | System Tag Off | User-defined Tag On | 100300 | IDX null | String | Element Count 64 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
sync data | fcp/1/DOS/%1/CP1/%(DYNAMIC)/tag/data | Address (Bit trigger) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | MQTT_RespClientId | System Tag Off | User-defined Tag On | 100428 | IDX null | Element Count 64 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| OFF->ON | Follow On | Local HMI | MQTT_SynPub_tag/data0 | System Tag Off | User-defined Tag On | 1002530 | IDX null
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 1 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 2 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 3 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 4 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[4] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 6 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[6] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 7 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[7] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 8 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[8] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 9 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[9] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 11 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].command | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 12 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].state | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 19 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Setpoint[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 20 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Setpoint[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 21 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Feedback[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 22 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Feedback[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 23 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_State[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 24 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_State[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 25 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 26 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 27 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 28 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 29 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 30 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 31 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 32 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 33 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 34 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 35 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 36 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 37 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].regime | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
alarm list | fcp/1/DOR/%1/CP1/ww/alm/list | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 1 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 2 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 3 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[5] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 4 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 5 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 6 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 7 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 8 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[5] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 9 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 10 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 11 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 12 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[1].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 13 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 14 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[2].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 15 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[3].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 16 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[3].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 17 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[4].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 18 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[4].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 19 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[5].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 20 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[5].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 25 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.DigitalInput_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 26 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.DigitalInput_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 27 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.DigitalInput_InOut[3].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 28 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 29 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 30 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 31 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 32 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 33 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 34 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 35 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 36 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 37 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 38 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 39 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 40 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 41 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 42 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 43 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 44 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 45 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 46 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 47 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 48 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 49 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 50 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 51 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 52 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 53 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 54 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 55 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 56 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 57 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 58 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 59 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 60 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 61 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 62 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 63 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 64 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 65 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 66 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 67 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 68 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 69 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 70 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 71 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 72 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 73 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 74 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 75 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 76 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 77 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 78 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 79 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 80 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].message[0] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
sync alarm list | fcp/1/DOS/%1/CP1/%(DYNAMIC)/alm/list | Address (Bit trigger) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | MQTT_RespClientId | System Tag Off | User-defined Tag On | 100428 | IDX null | Element Count 64 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| OFF->ON | Follow On | Local HMI | MQTT_SynPub_alm/list0 | System Tag Off | User-defined Tag On | 1002550 | IDX null
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 1 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 2 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 3 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[5] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 4 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 5 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[1].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 6 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 7 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 8 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[5] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 9 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 10 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_InOut[2].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 11 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 12 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[1].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 13 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 14 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[2].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 15 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[3].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 16 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[3].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 17 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[4].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 18 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[4].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 19 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[5].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 20 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_InOut[5].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 25 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.DigitalInput_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 26 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.DigitalInput_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 27 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.DigitalInput_InOut[3].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 28 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 29 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 30 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 31 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[1].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 32 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 33 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 34 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 35 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[2].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 36 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 37 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 38 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 39 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[3].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 40 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 41 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 42 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 43 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[4].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 44 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 45 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 46 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 47 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[6].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 48 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 49 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 50 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 51 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[7].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 52 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 53 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 54 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 55 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[8].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 56 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 57 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 58 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 59 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[9].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 60 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 61 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 62 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 63 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[11].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 64 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 65 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 66 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 67 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[12].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 68 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 69 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 70 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 71 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[13].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 72 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 73 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 74 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 75 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[14].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 76 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[2] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 77 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[3] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 78 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[1] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 79 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_InOut[15].message[4] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | 80 | Value | Boolean | Address | Siemens S7-1200/S7-1500 | BitArray | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].message[0] | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
sync alarm texts | fcp/1/DOS/%1/CP1/%(DYNAMIC)/alm/texts | Address (Bit trigger) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | MQTT_RespClientId | System Tag Off | User-defined Tag On | 100428 | IDX null | Element Count 64 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| OFF->ON | Follow On | Local HMI | MQTT_SynPub_alm/texts0 | System Tag Off | User-defined Tag On | 1002540 | IDX null
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 1 | Object
| d | 2 | Object
| d | 3 | Object
| d | 4 | Object
| d | 5 | Object
| d | 6 | Object
| d | 7 | Object
| d | 8 | Object
| d | 9 | Object
| d | 10 | Object
| d | 11 | Object
| d | 12 | Object
| d | 13 | Object
| d | 14 | Object
| d | 15 | Object
| d | 16 | Object
| d | 17 | Object
| d | 18 | Object
| d | 19 | Object
| d | 20 | Object
| d | 25 | Object
| d | 26 | Object
| d | 27 | Object
| d | 28 | Object
| d | 29 | Object
| d | 30 | Object
| d | 31 | Object
| d | 32 | Object
| d | 33 | Object
| d | 34 | Object
| d | 35 | Object
| d | 36 | Object
| d | 37 | Object
| d | 38 | Object
| d | 39 | Object
| d | 40 | Object
| d | 41 | Object
| d | 42 | Object
| d | 43 | Object
| d | 44 | Object
| d | 45 | Object
| d | 46 | Object
| d | 47 | Object
| d | 48 | Object
| d | 49 | Object
| d | 50 | Object
| d | 51 | Object
| d | 52 | Object
| d | 53 | Object
| d | 54 | Object
| d | 55 | Object
| d | 56 | Object
| d | 57 | Object
| d | 58 | Object
| d | 59 | Object
| d | 60 | Object
| d | 61 | Object
| d | 62 | Object
| d | 63 | Object
| d | 64 | Object
| d | 65 | Object
| d | 66 | Object
| d | 67 | Object
| d | 68 | Object
| d | 69 | Object
| d | 70 | Object
| d | 71 | Object
| d | 72 | Object
| d | 73 | Object
| d | 74 | Object
| d | 75 | Object
| d | 76 | Object
| d | 77 | Object
| d | 78 | Object
| d | 79 | Object
| d | 80 | Object
| d¦1 | msg | Value | String | Fixed | Supply Fan - Error
| d¦1 | cat | Value | String | Fixed | Error
| d¦2 | msg | Value | String | Fixed | Supply Fan - Thermal Protection Trip
| d¦2 | cat | Value | String | Fixed | Alarm
| d¦3 | msg | Value | String | Fixed | Supply Fan - Discrepancy Between Setpoint and Feedback
| d¦3 | cat | Value | String | Fixed | Alarm
| d¦4 | msg | Value | String | Fixed | Supply Fan - Mismatch Between Command and Feedback
| d¦4 | cat | Value | String | Fixed | Alarm
| d¦5 | msg | Value | String | Fixed | Supply Fan - Comunication Error
| d¦5 | cat | Value | String | Fixed | Error
| d¦6 | msg | Value | String | Fixed | Return Fan - Error
| d¦6 | cat | Value | String | Fixed | Error
| d¦7 | msg | Value | String | Fixed | Return Fan - Thermal Protection Trip
| d¦7 | cat | Value | String | Fixed | Alarm
| d¦8 | msg | Value | String | Fixed | Return Fan - Discrepancy Between Setpoint and Feedback
| d¦8 | cat | Value | String | Fixed | Alarm
| d¦9 | msg | Value | String | Fixed | Return Fan - Mismatch Between Command and Feedback
| d¦9 | cat | Value | String | Fixed | Alarm
| d¦10 | msg | Value | String | Fixed | Return Fan - Comunication Error
| d¦10 | cat | Value | String | Fixed | Error
| d¦11 | msg | Value | String | Fixed | Fresh Air Damper - Discrepancy Between Setpoint and Feedback
| d¦11 | cat | Value | String | Fixed | Alarm
| d¦12 | msg | Value | String | Fixed | Fresh Air Damper - Communication Error
| d¦12 | cat | Value | String | Fixed | Error
| d¦13 | msg | Value | String | Fixed | Bypass Air Damper - Discrepancy Between Setpoint and Feedback
| d¦13 | cat | Value | String | Fixed | Alarm
| d¦14 | msg | Value | String | Fixed | Bypass Air Damper - Communication Error
| d¦14 | cat | Value | String | Fixed | Error
| d¦15 | msg | Value | String | Fixed | Exhaust Air Damper - Discrepancy Between Setpoint and Feedback
| d¦15 | cat | Value | String | Fixed | Alarm
| d¦16 | msg | Value | String | Fixed | Exhaust Air Damper - Communication Error
| d¦16 | cat | Value | String | Fixed | Error
| d¦17 | msg | Value | String | Fixed | Cooling Valve - Discrepancy Between Setpoint and Feedback
| d¦17 | cat | Value | String | Fixed | Alarm
| d¦18 | msg | Value | String | Fixed | Cooling Valve - Communication Error
| d¦18 | cat | Value | String | Fixed | Error
| d¦19 | msg | Value | String | Fixed | Heating Valve - Discrepancy Between Setpoint and Feedback
| d¦19 | cat | Value | String | Fixed | Alarm
| d¦20 | msg | Value | String | Fixed | Heating Valve - Communication Error
| d¦20 | cat | Value | String | Fixed | Error
| d¦25 | msg | Value | String | Fixed | Emergency Stop - Emergency Stop Alarm
| d¦25 | cat | Value | String | Fixed | Alarm
| d¦26 | msg | Value | String | Fixed | Fire Central - Fire Detected
| d¦26 | cat | Value | String | Fixed | Alarm
| d¦27 | msg | Value | String | Fixed | Door Contact - Unit Door Open
| d¦27 | cat | Value | String | Fixed | Alarm
| d¦28 | msg | Value | String | Fixed | Fresh Air Temperature - High Alarm
| d¦28 | cat | Value | String | Fixed | Alarm
| d¦29 | msg | Value | String | Fixed | Fresh Air Temperature - Low Alarm
| d¦29 | cat | Value | String | Fixed | Alarm
| d¦30 | msg | Value | String | Fixed | Fresh Air Temperature - Error
| d¦30 | cat | Value | String | Fixed | Error
| d¦31 | msg | Value | String | Fixed | Fresh Air Temperature - Communication Error
| d¦31 | cat | Value | String | Fixed | Error
| d¦32 | msg | Value | String | Fixed | Return Air Temperature - High Alarm
| d¦32 | cat | Value | String | Fixed | Alarm
| d¦33 | msg | Value | String | Fixed | Return Air Temperature - Low Alarm
| d¦33 | cat | Value | String | Fixed | Alarm
| d¦34 | msg | Value | String | Fixed | Return Air Temperature - Error
| d¦34 | cat | Value | String | Fixed | Error
| d¦35 | msg | Value | String | Fixed | Return Air Temperature - Communication Error
| d¦35 | cat | Value | String | Fixed | Error
| d¦36 | msg | Value | String | Fixed | Exhaust Air Temperature - High Alarm
| d¦36 | cat | Value | String | Fixed | Alarm
| d¦37 | msg | Value | String | Fixed | Exhaust Air Temperature - Low Alarm
| d¦37 | cat | Value | String | Fixed | Alarm
| d¦38 | msg | Value | String | Fixed | Exhaust Air Temperature - Error
| d¦38 | cat | Value | String | Fixed | Error
| d¦39 | msg | Value | String | Fixed | Exhaust Air Temperature - Communication Error
| d¦39 | cat | Value | String | Fixed | Error
| d¦40 | msg | Value | String | Fixed | Supply Air Temperature - High Alarm
| d¦40 | cat | Value | String | Fixed | Alarm
| d¦41 | msg | Value | String | Fixed | Supply Air Temperature - Low Alarm
| d¦41 | cat | Value | String | Fixed | Alarm
| d¦42 | msg | Value | String | Fixed | Supply Air Temperature - Error
| d¦42 | cat | Value | String | Fixed | Error
| d¦43 | msg | Value | String | Fixed | Supply Air Temperature - Communication Error
| d¦43 | cat | Value | String | Fixed | Error
| d¦44 | msg | Value | String | Fixed | Fresh Air Humidity - High Alarm
| d¦44 | cat | Value | String | Fixed | Alarm
| d¦45 | msg | Value | String | Fixed | Fresh Air Humidity - Low Alarm
| d¦45 | cat | Value | String | Fixed | Alarm
| d¦46 | msg | Value | String | Fixed | Fresh Air Humidity - Error
| d¦46 | cat | Value | String | Fixed | Error
| d¦47 | msg | Value | String | Fixed | Fresh Air Humidity - Communication Error
| d¦47 | cat | Value | String | Fixed | Error
| d¦48 | msg | Value | String | Fixed | Return Air Humidity - High Alarm
| d¦48 | cat | Value | String | Fixed | Alarm
| d¦49 | msg | Value | String | Fixed | Return Air Humidity - Low Alarm
| d¦49 | cat | Value | String | Fixed | Alarm
| d¦50 | msg | Value | String | Fixed | Return Air Humidity - Error
| d¦50 | cat | Value | String | Fixed | Error
| d¦51 | msg | Value | String | Fixed | Return Air Humidity - Communication Error
| d¦51 | cat | Value | String | Fixed | Error
| d¦52 | msg | Value | String | Fixed | Exhaust Air Humidity - High Alarm
| d¦52 | cat | Value | String | Fixed | Alarm
| d¦53 | msg | Value | String | Fixed | Exhaust Air Humidity - Low Alarm
| d¦53 | cat | Value | String | Fixed | Alarm
| d¦54 | msg | Value | String | Fixed | Exhaust Air Humidity - Error
| d¦54 | cat | Value | String | Fixed | Error
| d¦55 | msg | Value | String | Fixed | Exhaust Air Humidity - Communication Error
| d¦55 | cat | Value | String | Fixed | Error
| d¦56 | msg | Value | String | Fixed | Supply Air Humidity - High Alarm
| d¦56 | cat | Value | String | Fixed | Alarm
| d¦57 | msg | Value | String | Fixed | Supply Air Humidity - Low Alarm
| d¦57 | cat | Value | String | Fixed | Alarm
| d¦58 | msg | Value | String | Fixed | Supply Air Humidity - Error
| d¦58 | cat | Value | String | Fixed | Error
| d¦59 | msg | Value | String | Fixed | Supply Air Humidity - Communication Error
| d¦59 | cat | Value | String | Fixed | Error
| d¦60 | msg | Value | String | Fixed | Fresh Air Filter Pressure - High Alarm
| d¦60 | cat | Value | String | Fixed | Alarm
| d¦61 | msg | Value | String | Fixed | Fresh Air Filter Pressure - Low Alarm
| d¦61 | cat | Value | String | Fixed | Alarm
| d¦62 | msg | Value | String | Fixed | Fresh Air Filter Pressure - Error
| d¦62 | cat | Value | String | Fixed | Error
| d¦63 | msg | Value | String | Fixed | Fresh Air Filter Pressure - Communication Error
| d¦63 | cat | Value | String | Fixed | Error
| d¦64 | msg | Value | String | Fixed | Return Air Filter Pressure - High Alarm
| d¦64 | cat | Value | String | Fixed | Alarm
| d¦65 | msg | Value | String | Fixed | Return Air Filter Pressure - Low Alarm
| d¦65 | cat | Value | String | Fixed | Alarm
| d¦66 | msg | Value | String | Fixed | Return Air Filter Pressure - Error
| d¦66 | cat | Value | String | Fixed | Error
| d¦67 | msg | Value | String | Fixed | Return Air Filter Pressure - Communication Error
| d¦67 | cat | Value | String | Fixed | Error
| d¦68 | msg | Value | String | Fixed | Exhaust Fan Flow - High Alarm
| d¦68 | cat | Value | String | Fixed | Alarm
| d¦69 | msg | Value | String | Fixed | Exhaust Fan Flow - Low Alarm
| d¦69 | cat | Value | String | Fixed | Alarm
| d¦70 | msg | Value | String | Fixed | Exhaust Fan Flow - Error
| d¦70 | cat | Value | String | Fixed | Error
| d¦71 | msg | Value | String | Fixed | Exhaust Fan Flow - Communication Error
| d¦71 | cat | Value | String | Fixed | Error
| d¦72 | msg | Value | String | Fixed | Supply Fan Flow - High Alarm
| d¦72 | cat | Value | String | Fixed | Alarm
| d¦73 | msg | Value | String | Fixed | Supply Fan Flow - Low Alarm
| d¦73 | cat | Value | String | Fixed | Alarm
| d¦74 | msg | Value | String | Fixed | Supply Fan Flow - Error
| d¦74 | cat | Value | String | Fixed | Error
| d¦75 | msg | Value | String | Fixed | Supply Fan Flow - Communication Error
| d¦75 | cat | Value | String | Fixed | Error
| d¦76 | msg | Value | String | Fixed | Recuperator Pressure - High Alarm
| d¦76 | cat | Value | String | Fixed | Alarm
| d¦77 | msg | Value | String | Fixed | Recuperator Pressure - Low Alarm
| d¦77 | cat | Value | String | Fixed | Alarm
| d¦78 | msg | Value | String | Fixed | Recuperator Pressure - Error
| d¦78 | cat | Value | String | Fixed | Error
| d¦79 | msg | Value | String | Fixed | Recuperator Pressure - Communication Error
| d¦79 | cat | Value | String | Fixed | Error
| d¦80 | msg | Value | String | Fixed | Air Handling Unit - Critical Alarm
| d¦80 | cat | Value | String | Fixed | Error
device 4 | fcp/1/DST/%1/CP1/ww | Address (Auto.) | CompressionType 2 | Retain On | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | connected | Value | Boolean | Address | Local HMI | LB-10100 : device 4 status (ethernet), set on to retry connection | System Tag On | User-defined Tag Off | 10100 | IDX null |  | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | tid | Value | String | Fixed | CP1
location | fcp/1/NOR/%1/ww/location | Address (Auto.) | CompressionType 2 | Retain On | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | latitude | Value | Number | Address | Local HMI | Location_Latitude | System Tag Off | User-defined Tag On | 90000 | IDX null | 32-bit Float | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
| d | longitude | Value | Number | Address | Local HMI | Location_Longitude | System Tag Off | User-defined Tag On | 90002 | IDX null | 32-bit Float | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required On
tag defs | fcp/1/DOS/%1/CP1/%(DYNAMIC)/tag/def | Address (Bit trigger) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | MQTT_RespClientId | System Tag Off | User-defined Tag On | 100428 | IDX null | Element Count 64 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| OFF->ON | Follow On | Local HMI | MQTT_SynPub_tag/def0 | System Tag Off | User-defined Tag On | 1002520 | IDX null
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 1 | Object
| d | 2 | Object
| d | 3 | Object
| d | 4 | Object
| d | 6 | Object
| d | 7 | Object
| d | 8 | Object
| d | 9 | Object
| d | 11 | Object
| d | 12 | Object
| d | 13 | Object
| d | 14 | Object
| d | 15 | Object
| d | 16 | Object
| d | 19 | Object
| d | 20 | Object
| d | 21 | Object
| d | 22 | Object
| d | 23 | Object
| d | 24 | Object
| d | 25 | Object
| d | 26 | Object
| d | 27 | Object
| d | 28 | Object
| d | 29 | Object
| d | 30 | Object
| d | 31 | Object
| d | 32 | Object
| d | 33 | Object
| d | 34 | Object
| d | 35 | Object
| d | 36 | Object
| d | 37 | Object
| d | 38 | Object
| d | 39 | Object
| d | 40 | Object
| d | 41 | Object
| d | 42 | Object
| d | 43 | Object
| d¦1 | name | Value | String | Fixed | Temperature.FreshAir
| d¦1 | desc | Value | String | Fixed | Fresh Air Temperature
| d¦1 | type | Value | Number | Fixed | 4
| d¦1 | unit | Value | String | Fixed | °C
| d¦1 | hist | Value | Boolean | Fixed | true
| d¦1 | min | Value | Number | Fixed | 0
| d¦1 | max | Value | Number | Fixed | 60
| d¦1 | readonly | Value | Boolean | Fixed | true
| d¦2 | name | Value | String | Fixed | Temperature.ReturnAir
| d¦2 | desc | Value | String | Fixed | Return Air Temperature
| d¦2 | type | Value | Number | Fixed | 4
| d¦2 | unit | Value | String | Fixed | °C
| d¦2 | hist | Value | Boolean | Fixed | true
| d¦2 | min | Value | Number | Fixed | 0
| d¦2 | max | Value | Number | Fixed | 50
| d¦2 | readonly | Value | Boolean | Fixed | true
| d¦3 | name | Value | String | Fixed | Temperature.ExhaustAir
| d¦3 | desc | Value | String | Fixed | Exhaust Air Temperature
| d¦3 | type | Value | Number | Fixed | 4
| d¦3 | unit | Value | String | Fixed | °C
| d¦3 | hist | Value | Boolean | Fixed | true
| d¦3 | min | Value | Number | Fixed | 0
| d¦3 | max | Value | Number | Fixed | 50
| d¦3 | readonly | Value | Boolean | Fixed | true
| d¦4 | name | Value | String | Fixed | Temperature.SupplyAir
| d¦4 | desc | Value | String | Fixed | Supply Air Temperature
| d¦4 | type | Value | Number | Fixed | 4
| d¦4 | unit | Value | String | Fixed | °C
| d¦4 | hist | Value | Boolean | Fixed | true
| d¦4 | min | Value | Number | Fixed | 0
| d¦4 | max | Value | Number | Fixed | 50
| d¦4 | readonly | Value | Boolean | Fixed | true
| d¦6 | name | Value | String | Fixed | Humidity.FreshAir
| d¦6 | desc | Value | String | Fixed | Fresh Air Humidity
| d¦6 | type | Value | Number | Fixed | 4
| d¦6 | unit | Value | String | Fixed | %
| d¦6 | hist | Value | Boolean | Fixed | true
| d¦6 | min | Value | Number | Fixed | 0
| d¦6 | max | Value | Number | Fixed | 100
| d¦6 | readonly | Value | Boolean | Fixed | true
| d¦7 | name | Value | String | Fixed | Humidity.ReturnAir
| d¦7 | desc | Value | String | Fixed | Return Air Humidity
| d¦7 | type | Value | Number | Fixed | 4
| d¦7 | unit | Value | String | Fixed | %
| d¦7 | hist | Value | Boolean | Fixed | true
| d¦7 | min | Value | Number | Fixed | 0
| d¦7 | max | Value | Number | Fixed | 100
| d¦7 | readonly | Value | Boolean | Fixed | true
| d¦8 | name | Value | String | Fixed | Humidity.ExhaustAir
| d¦8 | desc | Value | String | Fixed | Exhaust Air Humidity
| d¦8 | type | Value | Number | Fixed | 4
| d¦8 | unit | Value | String | Fixed | %
| d¦8 | hist | Value | Boolean | Fixed | true
| d¦8 | min | Value | Number | Fixed | 0
| d¦8 | max | Value | Number | Fixed | 100
| d¦8 | readonly | Value | Boolean | Fixed | true
| d¦9 | name | Value | String | Fixed | Humidity.SupplyAir
| d¦9 | desc | Value | String | Fixed | Supply Air Humidity
| d¦9 | type | Value | Number | Fixed | 4
| d¦9 | unit | Value | String | Fixed | %
| d¦9 | hist | Value | Boolean | Fixed | true
| d¦9 | min | Value | Number | Fixed | 0
| d¦9 | max | Value | Number | Fixed | 100
| d¦9 | readonly | Value | Boolean | Fixed | true
| d¦11 | name | Value | String | Fixed | Unit.Command
| d¦11 | desc | Value | String | Fixed | Start/Stop/Reset
| d¦11 | type | Value | Number | Fixed | 3
| d¦11 | unit | Value | String | Fixed | 11:Start;21:Stop
| d¦11 | hist | Value | Boolean | Fixed | false
| d¦11 | min | Value | Number | Fixed | 0
| d¦11 | max | Value | Number | Fixed | 100
| d¦11 | readonly | Value | Boolean | Fixed | false
| d¦12 | name | Value | String | Fixed | Unit.State
| d¦12 | desc | Value | String | Fixed | Unit Sequence
| d¦12 | type | Value | Number | Fixed | 3
| d¦12 | unit | Value | String | Fixed | 0:Stop;1:Stopping;2:Run;3:Failure
| d¦12 | hist | Value | Boolean | Fixed | true
| d¦12 | min | Value | Number | Fixed | 0
| d¦12 | max | Value | Number | Fixed | 100
| d¦12 | readonly | Value | Boolean | Fixed | true
| d¦13 | name | Value | String | Fixed | Parameters.Fan.Supply.Setpoint
| d¦13 | desc | Value | String | Fixed | Supply Fan Setpoint
| d¦13 | type | Value | Number | Fixed | 4
| d¦13 | unit | Value | String | Fixed | m3/h
| d¦13 | hist | Value | Boolean | Fixed | true
| d¦13 | min | Value | Number | Fixed | 0
| d¦13 | max | Value | Number | Fixed | 5000
| d¦13 | readonly | Value | Boolean | Fixed | false
| d¦14 | name | Value | String | Fixed | Parameters.Fan.Supply.RampTime
| d¦14 | desc | Value | String | Fixed | Fresh Air Temperature
| d¦14 | type | Value | Number | Fixed | 4
| d¦14 | unit | Value | String | Fixed | s
| d¦14 | hist | Value | Boolean | Fixed | true
| d¦14 | min | Value | Number | Fixed | 0
| d¦14 | max | Value | Number | Fixed | 3600
| d¦14 | readonly | Value | Boolean | Fixed | false
| d¦15 | name | Value | String | Fixed | Parameters.Fan.Exhaust.Setpoint
| d¦15 | desc | Value | String | Fixed | Exhaust Fan Setpoint
| d¦15 | type | Value | Number | Fixed | 4
| d¦15 | unit | Value | String | Fixed | m3/h
| d¦15 | hist | Value | Boolean | Fixed | true
| d¦15 | min | Value | Number | Fixed | 0
| d¦15 | max | Value | Number | Fixed | 5000
| d¦15 | readonly | Value | Boolean | Fixed | false
| d¦16 | name | Value | String | Fixed | Parameters.Fan.Exhaust.RampTime
| d¦16 | desc | Value | String | Fixed | Fresh Air Temperature
| d¦16 | type | Value | Number | Fixed | 4
| d¦16 | unit | Value | String | Fixed | s
| d¦16 | hist | Value | Boolean | Fixed | true
| d¦16 | min | Value | Number | Fixed | 0
| d¦16 | max | Value | Number | Fixed | 3600
| d¦16 | readonly | Value | Boolean | Fixed | false
| d¦19 | name | Value | String | Fixed | Fan.Supply.Setpoint
| d¦19 | desc | Value | String | Fixed | Supply Fan Setpoint
| d¦19 | type | Value | Number | Fixed | 4
| d¦19 | unit | Value | String | Fixed | %
| d¦19 | hist | Value | Boolean | Fixed | true
| d¦19 | min | Value | Number | Fixed | 0
| d¦19 | max | Value | Number | Fixed | 100
| d¦19 | readonly | Value | Boolean | Fixed | true
| d¦20 | name | Value | String | Fixed | Fan.Exhaust.Setpoint
| d¦20 | desc | Value | String | Fixed | Exhaust Fan Setpoint
| d¦20 | type | Value | Number | Fixed | 4
| d¦20 | unit | Value | String | Fixed | %
| d¦20 | hist | Value | Boolean | Fixed | true
| d¦20 | min | Value | Number | Fixed | 0
| d¦20 | max | Value | Number | Fixed | 100
| d¦20 | readonly | Value | Boolean | Fixed | true
| d¦21 | name | Value | String | Fixed | Fan.Supply.Feedback
| d¦21 | desc | Value | String | Fixed | Supply Fan Feedback
| d¦21 | type | Value | Number | Fixed | 4
| d¦21 | unit | Value | String | Fixed | %
| d¦21 | hist | Value | Boolean | Fixed | true
| d¦21 | min | Value | Number | Fixed | 0
| d¦21 | max | Value | Number | Fixed | 100
| d¦21 | readonly | Value | Boolean | Fixed | true
| d¦22 | name | Value | String | Fixed | Fan.Exhaust.Feedback
| d¦22 | desc | Value | String | Fixed | Exhaust Fan Feedback
| d¦22 | type | Value | Number | Fixed | 4
| d¦22 | unit | Value | String | Fixed | %
| d¦22 | hist | Value | Boolean | Fixed | true
| d¦22 | min | Value | Number | Fixed | 0
| d¦22 | max | Value | Number | Fixed | 100
| d¦22 | readonly | Value | Boolean | Fixed | true
| d¦23 | name | Value | String | Fixed | Fan.Supply.State
| d¦23 | desc | Value | String | Fixed | Supply Fan State
| d¦23 | type | Value | Number | Fixed | 3
| d¦23 | unit | Value | String | Fixed | 0:Stopped;1:Running;2:Failure
| d¦23 | hist | Value | Boolean | Fixed | true
| d¦23 | min | Value | Number | Fixed | 0
| d¦23 | max | Value | Number | Fixed | 3
| d¦23 | readonly | Value | Boolean | Fixed | true
| d¦24 | name | Value | String | Fixed | Fan.Exhaust.State
| d¦24 | desc | Value | String | Fixed | Exhaust Fan State
| d¦24 | type | Value | Number | Fixed | 3
| d¦24 | unit | Value | String | Fixed | 0:Stopped;1:Running;2:Failure
| d¦24 | hist | Value | Boolean | Fixed | true
| d¦24 | min | Value | Number | Fixed | 0
| d¦24 | max | Value | Number | Fixed | 3
| d¦24 | readonly | Value | Boolean | Fixed | true
| d¦25 | name | Value | String | Fixed | Damper.FreshAir.Setpoint
| d¦25 | desc | Value | String | Fixed | Fresh Air Damper Setpoint
| d¦25 | type | Value | Number | Fixed | 4
| d¦25 | unit | Value | String | Fixed | %
| d¦25 | hist | Value | Boolean | Fixed | true
| d¦25 | min | Value | Number | Fixed | 0
| d¦25 | max | Value | Number | Fixed | 100
| d¦25 | readonly | Value | Boolean | Fixed | true
| d¦26 | name | Value | String | Fixed | Damper.BypassAir.Setpoint
| d¦26 | desc | Value | String | Fixed | Bypass Air Damper Setpoint
| d¦26 | type | Value | Number | Fixed | 4
| d¦26 | unit | Value | String | Fixed | %
| d¦26 | hist | Value | Boolean | Fixed | true
| d¦26 | min | Value | Number | Fixed | 0
| d¦26 | max | Value | Number | Fixed | 100
| d¦26 | readonly | Value | Boolean | Fixed | true
| d¦27 | name | Value | String | Fixed | Damper.ExhaustAir.Setpoint
| d¦27 | desc | Value | String | Fixed | Exhaust Air Damper Setpoint
| d¦27 | type | Value | Number | Fixed | 4
| d¦27 | unit | Value | String | Fixed | %
| d¦27 | hist | Value | Boolean | Fixed | true
| d¦27 | min | Value | Number | Fixed | 0
| d¦27 | max | Value | Number | Fixed | 100
| d¦27 | readonly | Value | Boolean | Fixed | true
| d¦28 | name | Value | String | Fixed | Damper.FreshAir.Feedback
| d¦28 | desc | Value | String | Fixed | Fresh Air Damper Feedback
| d¦28 | type | Value | Number | Fixed | 4
| d¦28 | unit | Value | String | Fixed | %
| d¦28 | hist | Value | Boolean | Fixed | true
| d¦28 | min | Value | Number | Fixed | 0
| d¦28 | max | Value | Number | Fixed | 100
| d¦28 | readonly | Value | Boolean | Fixed | true
| d¦29 | name | Value | String | Fixed | Damper.BypassAir.Feedback
| d¦29 | desc | Value | String | Fixed | Bypass Air Damper Feedback
| d¦29 | type | Value | Number | Fixed | 4
| d¦29 | unit | Value | String | Fixed | %
| d¦29 | hist | Value | Boolean | Fixed | true
| d¦29 | min | Value | Number | Fixed | 0
| d¦29 | max | Value | Number | Fixed | 100
| d¦29 | readonly | Value | Boolean | Fixed | true
| d¦30 | name | Value | String | Fixed | Damper.ExhaustAir.Feedback
| d¦30 | desc | Value | String | Fixed | Exhaust Air Damper Feedback
| d¦30 | type | Value | Number | Fixed | 4
| d¦30 | unit | Value | String | Fixed | %
| d¦30 | hist | Value | Boolean | Fixed | true
| d¦30 | min | Value | Number | Fixed | 0
| d¦30 | max | Value | Number | Fixed | 100
| d¦30 | readonly | Value | Boolean | Fixed | true
| d¦31 | name | Value | String | Fixed | Damper.FreshAir.State
| d¦31 | desc | Value | String | Fixed | Fresh Air Damper State
| d¦31 | type | Value | Number | Fixed | 3
| d¦31 | unit | Value | String | Fixed | 0:Stopped;1:Running;2:Failure
| d¦31 | hist | Value | Boolean | Fixed | true
| d¦31 | min | Value | Number | Fixed | 0
| d¦31 | max | Value | Number | Fixed | 3
| d¦31 | readonly | Value | Boolean | Fixed | true
| d¦32 | name | Value | String | Fixed | Damper.BypassAir.State
| d¦32 | desc | Value | String | Fixed | Bypass Air Damper State
| d¦32 | type | Value | Number | Fixed | 3
| d¦32 | unit | Value | String | Fixed | 0:Stopped;1:Running;2:Failure
| d¦32 | hist | Value | Boolean | Fixed | true
| d¦32 | min | Value | Number | Fixed | 0
| d¦32 | max | Value | Number | Fixed | 3
| d¦32 | readonly | Value | Boolean | Fixed | true
| d¦33 | name | Value | String | Fixed | Damper.ExhaustAir.State
| d¦33 | desc | Value | String | Fixed | Exhaust Air Damper State
| d¦33 | type | Value | Number | Fixed | 3
| d¦33 | unit | Value | String | Fixed | 0:Stopped;1:Running;2:Failure
| d¦33 | hist | Value | Boolean | Fixed | true
| d¦33 | min | Value | Number | Fixed | 0
| d¦33 | max | Value | Number | Fixed | 3
| d¦33 | readonly | Value | Boolean | Fixed | true
| d¦34 | name | Value | String | Fixed | Unit.Regime
| d¦34 | desc | Value | String | Fixed | Unit Regime
| d¦34 | type | Value | Number | Fixed | 3
| d¦34 | unit | Value | String | Fixed | 0:Comfort;1:Eco;2:Off
| d¦34 | hist | Value | Boolean | Fixed | true
| d¦34 | min | Value | Number | Fixed | 0
| d¦34 | max | Value | Number | Fixed | 2
| d¦34 | readonly | Value | Boolean | Fixed | false
| d¦35 | name | Value | String | Fixed | PressureFilter.FreshAir
| d¦35 | desc | Value | String | Fixed | Fresh Air Filter Pressure
| d¦35 | type | Value | Number | Fixed | 4
| d¦35 | unit | Value | String | Fixed | Pa
| d¦35 | hist | Value | Boolean | Fixed | true
| d¦35 | min | Value | Number | Fixed | 0
| d¦35 | max | Value | Number | Fixed | 500
| d¦35 | readonly | Value | Boolean | Fixed | true
| d¦36 | name | Value | String | Fixed | PressureFilter.ReturnAir
| d¦36 | desc | Value | String | Fixed | Return Air Filter Pressure
| d¦36 | type | Value | Number | Fixed | 4
| d¦36 | unit | Value | String | Fixed | Pa
| d¦36 | hist | Value | Boolean | Fixed | true
| d¦36 | min | Value | Number | Fixed | 0
| d¦36 | max | Value | Number | Fixed | 500
| d¦36 | readonly | Value | Boolean | Fixed | true
| d¦37 | name | Value | String | Fixed | Pressure.Recuperator
| d¦37 | desc | Value | String | Fixed | Recuperator Pressure
| d¦37 | type | Value | Number | Fixed | 4
| d¦37 | unit | Value | String | Fixed | Pa
| d¦37 | hist | Value | Boolean | Fixed | true
| d¦37 | min | Value | Number | Fixed | 0
| d¦37 | max | Value | Number | Fixed | 800
| d¦37 | readonly | Value | Boolean | Fixed | true
| d¦38 | name | Value | String | Fixed | Flow.ExhaustFan
| d¦38 | desc | Value | String | Fixed | Exhaust Fan Flow
| d¦38 | type | Value | Number | Fixed | 4
| d¦38 | unit | Value | String | Fixed | m3/h
| d¦38 | hist | Value | Boolean | Fixed | true
| d¦38 | min | Value | Number | Fixed | 0
| d¦38 | max | Value | Number | Fixed | 5000
| d¦38 | readonly | Value | Boolean | Fixed | true
| d¦39 | name | Value | String | Fixed | Flow.SupplyFan
| d¦39 | desc | Value | String | Fixed | Supply Fan Flow
| d¦39 | type | Value | Number | Fixed | 4
| d¦39 | unit | Value | String | Fixed | m3/h
| d¦39 | hist | Value | Boolean | Fixed | true
| d¦39 | min | Value | Number | Fixed | 0
| d¦39 | max | Value | Number | Fixed | 5000
| d¦39 | readonly | Value | Boolean | Fixed | true
| d¦40 | name | Value | String | Fixed | Valve.Heating.Setpoint
| d¦40 | desc | Value | String | Fixed | Heating Valve Setpoint
| d¦40 | type | Value | Number | Fixed | 4
| d¦40 | unit | Value | String | Fixed | %
| d¦40 | hist | Value | Boolean | Fixed | true
| d¦40 | min | Value | Number | Fixed | 0
| d¦40 | max | Value | Number | Fixed | 100
| d¦40 | readonly | Value | Boolean | Fixed | true
| d¦41 | name | Value | String | Fixed | Valve.Heating.feedback
| d¦41 | desc | Value | String | Fixed | Heating Valve Feedback
| d¦41 | type | Value | Number | Fixed | 4
| d¦41 | unit | Value | String | Fixed | %
| d¦41 | hist | Value | Boolean | Fixed | true
| d¦41 | min | Value | Number | Fixed | 0
| d¦41 | max | Value | Number | Fixed | 100
| d¦41 | readonly | Value | Boolean | Fixed | true
| d¦42 | name | Value | String | Fixed | Valve.Heating.State
| d¦42 | desc | Value | String | Fixed | Heating Valve State
| d¦42 | type | Value | Number | Fixed | 3
| d¦42 | unit | Value | String | Fixed | 0:Stopped;1:Running;2:Failure
| d¦42 | hist | Value | Boolean | Fixed | true
| d¦42 | min | Value | Number | Fixed | 0
| d¦42 | max | Value | Number | Fixed | 3
| d¦42 | readonly | Value | Boolean | Fixed | true
unit | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 11 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].command | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 12 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].state | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 34 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].regime | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
eqreals | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 19 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Setpoint[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 20 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Setpoint[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 21 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Feedback[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 22 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Feedback[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 25 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 26 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 27 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 40 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 28 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 29 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 30 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 41 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
eqstate | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 23 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_State[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 24 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_State[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 31 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 32 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 33 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 42 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
pressure | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 35 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[11] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 36 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[12] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 37 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[15] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
flow | fcp/1/DOR/%1/CP1/ww/tag/data | Address (Auto.) | CompressionType 2 | Retain Off | QoS 1 | JSON (Advanced) | Timestamp On | Dynamic String | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null | Element Count 20 | Top-level Key d On
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
| Trigger-base On | Time-base Off | 1 sec
Object
|  | d | Object
|  | ts | Value | Number | Timestamp
| d | 38 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[13] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off
| d | 39 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[14] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Number of digits Off | 4 | Remove array On | Include/Required Off