## sheet1
Version 11
Subscriber
data | fcp/1/DOW/%(DYNAMIC)/CP1/ww/tag/data | CompressionType 2 | Dynamic String | Local HMI | MQTT_ClientID | System Tag Off | User-defined Tag On | 100006 | IDX null | Element Count 20 | QoS 1 | JSON (Advanced) | Timestamp Off | Top-level Key d Off | ManualOperation Off | ManualControlAddress | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
Object
|  | d | Object
| d | 1 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 2 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 3 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 4 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[4] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 6 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[6] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 7 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[7] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 8 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[8] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 9 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.AnalogInput_Value[9] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 11 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].command | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 12 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].state | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 19 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Setpoint[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 20 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Setpoint[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 21 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Feedback[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 22 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_Feedback[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 23 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_State[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 24 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.MotorModulating_State[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 25 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 26 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 27 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 28 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Setpoint[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 29 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 30 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 31 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 32 | Value | Number | Address | Siemens S7-1200/S7-1500 | REAL | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_Feedback[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 33 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[1] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 34 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[2] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 35 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[3] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 36 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.ValveModulating_State[5] | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d | 37 | Value | Number | Address | Siemens S7-1200/S7-1500 | INT | System Tag Off | User-defined Tag Off | PLC.Blocks.Objects.Unit_InOut[1].regime | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
cmd | fcp/1/DOW/%(DYNAMIC)/CP1/ww/cmd | CompressionType 2 | Dynamic String | Local HMI | MQTT_ClientID | System Tag Off | User-defined Tag On | 100006 | IDX null | Element Count 20 | QoS 1 | JSON (Advanced) | Timestamp Off | Top-level Key d Off | ManualOperation Off | ManualControlAddress | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
Object
|  | d | Object
| d | value | Value | String | Address | Local HMI | MQTT_CmdReqData | System Tag Off | User-defined Tag On | 100364 | IDX null | String | Element Count 64 | Unicode Off | Remove array On | Include/Required On
| d | cmd | Value | Boolean | Address | Local HMI | MQTT_CmdReqReq | System Tag Off | User-defined Tag On | 1002991 | IDX null |  | Element Count 1 | Unicode Off | Remove array On | Include/Required On
syn | fcp/1/SYN/%(DYNAMIC)/CP1/ww | CompressionType 2 | Dynamic String | Local HMI | MQTT_ClientID | System Tag Off | User-defined Tag On | 100006 | IDX null | Element Count 20 | QoS 1 | JSON (Advanced) | Timestamp Off | Top-level Key d Off | ManualOperation On | ManualControlAddress | Local HMI | LW | System Tag Off | User-defined Tag Off | 230 | IDX null
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
Object
|  | d | Object
| d | id | Value | String | Address | Local HMI | MQTT_RespClientId | System Tag Off | User-defined Tag On | 100428 | IDX null | String | Element Count 64 | Unicode Off | Remove array On | Include/Required On
| d | topics | Object
| d¦topics | tag/def | Value | Boolean | Address | Local HMI | MQTT_Syn_tag/def | System Tag Off | User-defined Tag On | 1002510 | IDX null |  | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d¦topics | tag/data | Value | Boolean | Address | Local HMI | MQTT_Syn_tag/data | System Tag Off | User-defined Tag On | 1002511 | IDX null |  | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d¦topics | alm/texts | Value | Boolean | Address | Local HMI | MQTT_Syn_alm/texts | System Tag Off | User-defined Tag On | 1002512 | IDX null |  | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
| d¦topics | alm/list | Value | Boolean | Address | Local HMI | MQTT_Syn_alm/list | System Tag Off | User-defined Tag On | 1002513 | IDX null |  | Element Count 1 | Unicode Off | Remove array On | Include/Required Off
password | fcp/1/DOW/%(DYNAMIC)/CP1/ww/mqtt | CompressionType 2 | Dynamic String | Local HMI | MQTT_ClientID | System Tag Off | User-defined Tag On | 100006 | IDX null | Element Count 20 | QoS 2 | JSON (Advanced) | Timestamp Off | Top-level Key d Off | ManualOperation Off | ManualControlAddress | Local HMI | LW | System Tag Off | User-defined Tag Off | 0 | IDX null
| Enable/Disable Off | Enable if bit is On | Local HMI | LB | System Tag Off | User-defined Tag Off | 0 | IDX null
Object
|  | d | Object
| d | username | Value | String | Address | Local HMI | MQTT_Username | System Tag Off | User-defined Tag On | 100027 | IDX null | String | Element Count 16 | Unicode Off | Remove array On | Include/Required Off
| d | password | Value | String | Address | Local HMI | MQTT_Password | System Tag Off | User-defined Tag On | 100043 | IDX null | String | Element Count 16 | Unicode Off | Remove array On | Include/Required Off
| d | command | Value | Number | Address | Local HMI | MQTT_Command | System Tag Off | User-defined Tag On | 100000 | IDX null | 16-bit Unsigned | Element Count 1 | Unicode Off | Remove array On | Include/Required Off